## Slide 1: P61886-3: Subsea Transformers
  SCOPE
    Develop an International Standard applicable to liquid immersed subsea power transformers
  APPROACH
    Leverage SEPS work by utilizing SEPS SP-1002 “Subsea power transformers” as the initial draft standard
    Collaborate with IEC Working Group to develop IEC/IEEE dual logo standard
  SEPS SP-1002 DEVELOPMENT STATUS
    Scope
      Three-phase and single-phase liquid immersed subsea power transformers
      Rated voltages in the range 3.6 ≤ Um ≤ 145 kV
      Rated power in the range 50 kVA to 100 MVA
      Designed & tests to more stringent of IEC and IEEE standards
      Nameplate selectable by purchaser to either IEC or IEEE std. ratings
    Draft progressing
      Incorporating comments from 2nd round of manufacturers
      Developing data sheet
    Planned Issue by end of year or 1st quarter 2016
      Rights to be forwarded shortly after issuance
DRAFT

## Slide 2: P61886-3: Subsea Transformers
  SEPS SP-1002 TABLE OF CONTENTS
DRAFT
DRAFT